## Switchgear Data
Name | Product_Type | Type | Brand | Model_Number | Short_Description | Price | Amperage | Voltage | Poles | Breaking_Capacity | Trip_Curve | Sensitivity | Application | MCB_Type | Module | Colour | IP_Rating | Operating_Temperature | Body_Material | Contact_Material | Standards | Mounting_Type | Warranty | Specifications | Key_Features | Full_Description | Product_URL | Image_Path | Image_Download_Status
ACCL | ACCL (Auxiliary Contact and Control Lamp) | Switchgear | Polycab |  | Automatically switch between two or more power sources based on predefined conditions | ₹3105 | 22A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Phase: Single ; Gen (Dg) Current Rating (A): 6 ; Mains (Eb) Current Rating (A): 30 | Low Power Consumption , Longer Life - 25,000 Electrical Operations , Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6) , Unique Contactor Based Technology, Break Before Make Changeover Contact With Higher Air gap , Overload Indication on GENSET Side by LED and BEEP , Auto Reset Facility , Conditional Short Circuit Current Capacity 5kA , Compact Design , IS/IEC Certified | ACCL (Automatic Changeover & Current Limiter) offers a controlled and seamless transition from one power source to another while limiting the current on the Generator side | https://polycab.com/accl-single-phase-30-mains-eb-current-rating-a-6-gen-dg-current-rating-a/c-5003/p-55675 | /Polycab/Switchgear/polycab_accl_switchgear/images/ACCL_NA_image.png | Downloaded
ACCL | ACCL (Auxiliary Contact and Control Lamp) | Switchgear | Polycab |  | Automatically switch between two or more power sources based on predefined conditions | ₹3105 | 22A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Phase: Single ; Gen (Dg) Current Rating (A): 1.5 ; Mains (Eb) Current Rating (A): 30 | Low Power Consumption , Longer Life - 25,000 Electrical Operations , Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6) , Unique Contactor Based Technology, Break Before Make Changeover Contact With Higher Air gap , Overload Indication on GENSET Side by LED and BEEP , Auto Reset Facility , Conditional Short Circuit Current Capacity 5kA , Compact Design , IS/IEC Certified | ACCL (Automatic Changeover & Current Limiter) offers a controlled and seamless transition from one power source to another while limiting the current on the Generator side | https://polycab.com/accl-single-phase-30-mains-eb-current-rating-a-15-gen-dg-current-rating-a/c-5003/p-55670 | /Polycab/Switchgear/polycab_accl_switchgear/images/ACCL_NA_image.png | Downloaded
ACCL | ACCL (Auxiliary Contact and Control Lamp) | Switchgear | Polycab |  | Automatically switch between two or more power sources based on predefined conditions | ₹3105 | 22A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Phase: Single ; Gen (Dg) Current Rating (A): 2.5 ; Mains (Eb) Current Rating (A): 30 | Low Power Consumption , Longer Life - 25,000 Electrical Operations , Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6) , Unique Contactor Based Technology, Break Before Make Changeover Contact With Higher Air gap , Overload Indication on GENSET Side by LED and BEEP , Auto Reset Facility , Conditional Short Circuit Current Capacity 5kA , Compact Design , IS/IEC Certified | ACCL (Automatic Changeover & Current Limiter) offers a controlled and seamless transition from one power source to another while limiting the current on the Generator side | https://polycab.com/accl-single-phase-30-mains-eb-current-rating-a-25-gen-dg-current-rating-a/c-5003/p-55671 | /Polycab/Switchgear/polycab_accl_switchgear/images/ACCL_NA_image.png | Downloaded
ACCL | ACCL (Auxiliary Contact and Control Lamp) | Switchgear | Polycab |  | Automatically switch between two or more power sources based on predefined conditions | ₹3105 | 22A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Phase: Single ; Gen (Dg) Current Rating (A): 9 ; Mains (Eb) Current Rating (A): 30 | Low Power Consumption , Longer Life - 25,000 Electrical Operations , Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6) , Unique Contactor Based Technology, Break Before Make Changeover Contact With Higher Air gap , Overload Indication on GENSET Side by LED and BEEP , Auto Reset Facility , Conditional Short Circuit Current Capacity 5kA , Compact Design , IS/IEC Certified | ACCL (Automatic Changeover & Current Limiter) offers a controlled and seamless transition from one power source to another while limiting the current on the Generator side | https://polycab.com/accl-single-phase-30-mains-eb-current-rating-a-9-gen-dg-current-rating-a/c-5003/p-55677 | /Polycab/Switchgear/polycab_accl_switchgear/images/ACCL_NA_image.png | Downloaded
ACCL | ACCL (Auxiliary Contact and Control Lamp) | Switchgear | Polycab |  | Automatically switch between two or more power sources based on predefined conditions | ₹3105 | 22A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Phase: Single ; Gen (Dg) Current Rating (A): 20 ; Mains (Eb) Current Rating (A): 30 | Low Power Consumption , Longer Life - 25,000 Electrical Operations , Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6) , Unique Contactor Based Technology, Break Before Make Changeover Contact With Higher Air gap , Overload Indication on GENSET Side by LED and BEEP , Auto Reset Facility , Conditional Short Circuit Current Capacity 5kA , Compact Design , IS/IEC Certified | ACCL (Automatic Changeover & Current Limiter) offers a controlled and seamless transition from one power source to another while limiting the current on the Generator side | https://polycab.com/accl-single-phase-30-mains-eb-current-rating-a-20-gen-dg-current-rating-a/c-5003/p-55680 | /Polycab/Switchgear/polycab_accl_switchgear/images/ACCL_NA_image.png | Downloaded
ACCL | ACCL (Auxiliary Contact and Control Lamp) | Switchgear | Polycab |  | Automatically switch between two or more power sources based on predefined conditions | ₹3105 | 22A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Phase: Single ; Gen (Dg) Current Rating (A): 30 ; Mains (Eb) Current Rating (A): 30 | Low Power Consumption , Longer Life - 25,000 Electrical Operations , Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6) , Unique Contactor Based Technology, Break Before Make Changeover Contact With Higher Air gap , Overload Indication on GENSET Side by LED and BEEP , Auto Reset Facility , Conditional Short Circuit Current Capacity 5kA , Compact Design , IS/IEC Certified | ACCL (Automatic Changeover & Current Limiter) offers a controlled and seamless transition from one power source to another while limiting the current on the Generator side | https://polycab.com/accl-single-phase-30-mains-eb-current-rating-a-30-gen-dg-current-rating-a/c-5003/p-55682 | /Polycab/Switchgear/polycab_accl_switchgear/images/ACCL_NA_image.png | Downloaded
ACCL | ACCL (Auxiliary Contact and Control Lamp) | Switchgear | Polycab |  | Automatically switch between two or more power sources based on predefined conditions | ₹3105 | 22A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Phase: Single ; Gen (Dg) Current Rating (A): 10 ; Mains (Eb) Current Rating (A): 30 | Low Power Consumption , Longer Life - 25,000 Electrical Operations , Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6) , Unique Contactor Based Technology, Break Before Make Changeover Contact With Higher Air gap , Overload Indication on GENSET Side by LED and BEEP , Auto Reset Facility , Conditional Short Circuit Current Capacity 5kA , Compact Design , IS/IEC Certified | ACCL (Automatic Changeover & Current Limiter) offers a controlled and seamless transition from one power source to another while limiting the current on the Generator side | https://polycab.com/accl-single-phase-30-mains-eb-current-rating-a-10-gen-dg-current-rating-a/c-5003/p-55678 | /Polycab/Switchgear/polycab_accl_switchgear/images/ACCL_NA_image.png | Downloaded
ACCL | ACCL (Auxiliary Contact and Control Lamp) | Switchgear | Polycab |  | Automatically switch between two or more power sources based on predefined conditions | ₹3105 | 22A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Phase: Single ; Gen (Dg) Current Rating (A): 15 ; Mains (Eb) Current Rating (A): 30 | Low Power Consumption , Longer Life - 25,000 Electrical Operations , Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6) , Unique Contactor Based Technology, Break Before Make Changeover Contact With Higher Air gap , Overload Indication on GENSET Side by LED and BEEP , Auto Reset Facility , Conditional Short Circuit Current Capacity 5kA , Compact Design , IS/IEC Certified | ACCL (Automatic Changeover & Current Limiter) offers a controlled and seamless transition from one power source to another while limiting the current on the Generator side | https://polycab.com/accl-single-phase-30-mains-eb-current-rating-a-15-gen-dg-current-rating-a/c-5003/p-55679 | /Polycab/Switchgear/polycab_accl_switchgear/images/ACCL_NA_image.png | Downloaded
ACCL | ACCL (Auxiliary Contact and Control Lamp) | Switchgear | Polycab |  | Automatically switch between two or more power sources based on predefined conditions | ₹3105 | 22A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Phase: Single ; Gen (Dg) Current Rating (A): 5 ; Mains (Eb) Current Rating (A): 30 | Low Power Consumption , Longer Life - 25,000 Electrical Operations , Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6) , Unique Contactor Based Technology, Break Before Make Changeover Contact With Higher Air gap , Overload Indication on GENSET Side by LED and BEEP , Auto Reset Facility , Conditional Short Circuit Current Capacity 5kA , Compact Design , IS/IEC Certified | ACCL (Automatic Changeover & Current Limiter) offers a controlled and seamless transition from one power source to another while limiting the current on the Generator side | https://polycab.com/accl-single-phase-30-mains-eb-current-rating-a-5-gen-dg-current-rating-a/c-5003/p-55674 | /Polycab/Switchgear/polycab_accl_switchgear/images/ACCL_NA_image.png | Downloaded
ACCL | ACCL (Auxiliary Contact and Control Lamp) | Switchgear | Polycab |  | Automatically switch between two or more power sources based on predefined conditions | ₹3105 | 22A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Phase: Single ; Gen (Dg) Current Rating (A): 0.5 ; Mains (Eb) Current Rating (A): 30 | Low Power Consumption , Longer Life - 25,000 Electrical Operations , Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6) , Unique Contactor Based Technology, Break Before Make Changeover Contact With Higher Air gap , Overload Indication on GENSET Side by LED and BEEP , Auto Reset Facility , Conditional Short Circuit Current Capacity 5kA , Compact Design , IS/IEC Certified | ACCL (Automatic Changeover & Current Limiter) offers a controlled and seamless transition from one power source to another while limiting the current on the Generator side | https://polycab.com/accl-single-phase-30-mains-eb-current-rating-a-05-gen-dg-current-rating-a/c-5003/p-55668 | /Polycab/Switchgear/polycab_accl_switchgear/images/ACCL_NA_image.png | Downloaded
ACCL | ACCL (Auxiliary Contact and Control Lamp) | Switchgear | Polycab |  | Automatically switch between two or more power sources based on predefined conditions | ₹3105 | 22A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Phase: Single ; Gen (Dg) Current Rating (A): 25 ; Mains (Eb) Current Rating (A): 30 | Low Power Consumption , Longer Life - 25,000 Electrical Operations , Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6) , Unique Contactor Based Technology, Break Before Make Changeover Contact With Higher Air gap , Overload Indication on GENSET Side by LED and BEEP , Auto Reset Facility , Conditional Short Circuit Current Capacity 5kA , Compact Design , IS/IEC Certified | ACCL (Automatic Changeover & Current Limiter) offers a controlled and seamless transition from one power source to another while limiting the current on the Generator side | https://polycab.com/accl-single-phase-30-mains-eb-current-rating-a-25-gen-dg-current-rating-a/c-5003/p-55681 | /Polycab/Switchgear/polycab_accl_switchgear/images/ACCL_NA_image.png | Downloaded
ACCL | ACCL (Auxiliary Contact and Control Lamp) | Switchgear | Polycab |  | Automatically switch between two or more power sources based on predefined conditions | ₹3105 | 22A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Phase: Single ; Gen (Dg) Current Rating (A): 1 ; Mains (Eb) Current Rating (A): 30 | Low Power Consumption , Longer Life - 25,000 Electrical Operations , Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6) , Unique Contactor Based Technology, Break Before Make Changeover Contact With Higher Air gap , Overload Indication on GENSET Side by LED and BEEP , Auto Reset Facility , Conditional Short Circuit Current Capacity 5kA , Compact Design , IS/IEC Certified | ACCL (Automatic Changeover & Current Limiter) offers a controlled and seamless transition from one power source to another while limiting the current on the Generator side | https://polycab.com/accl-single-phase-30-mains-eb-current-rating-a-1-gen-dg-current-rating-a/c-5003/p-55669 | /Polycab/Switchgear/polycab_accl_switchgear/images/ACCL_NA_image.png | Downloaded
ACCL | ACCL (Auxiliary Contact and Control Lamp) | Switchgear | Polycab |  | Automatically switch between two or more power sources based on predefined conditions | ₹3105 | 22A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Phase: Single ; Gen (Dg) Current Rating (A): 4 ; Mains (Eb) Current Rating (A): 30 | Low Power Consumption , Longer Life - 25,000 Electrical Operations , Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6) , Unique Contactor Based Technology, Break Before Make Changeover Contact With Higher Air gap , Overload Indication on GENSET Side by LED and BEEP , Auto Reset Facility , Conditional Short Circuit Current Capacity 5kA , Compact Design , IS/IEC Certified | ACCL (Automatic Changeover & Current Limiter) offers a controlled and seamless transition from one power source to another while limiting the current on the Generator side | https://polycab.com/accl-single-phase-30-mains-eb-current-rating-a-4-gen-dg-current-rating-a/c-5003/p-55673 | /Polycab/Switchgear/polycab_accl_switchgear/images/ACCL_NA_image.png | Downloaded
ACCL | ACCL (Auxiliary Contact and Control Lamp) | Switchgear | Polycab |  | Automatically switch between two or more power sources based on predefined conditions | ₹3105 | 22A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Phase: Single ; Gen (Dg) Current Rating (A): 8 ; Mains (Eb) Current Rating (A): 30 | Low Power Consumption , Longer Life - 25,000 Electrical Operations , Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6) , Unique Contactor Based Technology, Break Before Make Changeover Contact With Higher Air gap , Overload Indication on GENSET Side by LED and BEEP , Auto Reset Facility , Conditional Short Circuit Current Capacity 5kA , Compact Design , IS/IEC Certified | ACCL (Automatic Changeover & Current Limiter) offers a controlled and seamless transition from one power source to another while limiting the current on the Generator side | https://polycab.com/accl-single-phase-30-mains-eb-current-rating-a-8-gen-dg-current-rating-a/c-5003/p-55676 | /Polycab/Switchgear/polycab_accl_switchgear/images/ACCL_NA_image.png | Downloaded
ACCL | ACCL (Auxiliary Contact and Control Lamp) | Switchgear | Polycab |  | Automatically switch between two or more power sources based on predefined conditions | ₹3105 | 22A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Phase: Single ; Gen (Dg) Current Rating (A): 3 ; Mains (Eb) Current Rating (A): 30 | Low Power Consumption , Longer Life - 25,000 Electrical Operations , Utilisation Category AC22A (IEC 60947-3) & AC32A (IEC 60947-6) , Unique Contactor Based Technology, Break Before Make Changeover Contact With Higher Air gap , Overload Indication on GENSET Side by LED and BEEP , Auto Reset Facility , Conditional Short Circuit Current Capacity 5kA , Compact Design , IS/IEC Certified | ACCL (Automatic Changeover & Current Limiter) offers a controlled and seamless transition from one power source to another while limiting the current on the Generator side | https://polycab.com/accl-single-phase-30-mains-eb-current-rating-a-3-gen-dg-current-rating-a/c-5003/p-55672 | /Polycab/Switchgear/polycab_accl_switchgear/images/ACCL_NA_image.png | Downloaded