## Switchgear Data
Name | Product_Type | Type | Brand | Model_Number | Short_Description | Price | Amperage | Voltage | Poles | Breaking_Capacity | Trip_Curve | Sensitivity | Application | MCB_Type | Module | Colour | IP_Rating | Operating_Temperature | Body_Material | Contact_Material | Standards | Mounting_Type | Warranty | Specifications | Key_Features | Full_Description | Product_URL | Image_Path | Image_Download_Status
Isolator | Isolator | Switchgear | Polycab |  | Provides isolation between load and supply | ₹406 - ₹472 | 63A, 40A | N/A | SP | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Amperage: 63A ; Poles: SP | Real Contact Position Indication , Large Terminals With Safety Shutter , Circuit Label Holder , Padlocking Provision Available , Dual Contacts Breaking Mechanism , Finger Proof Terminals IP20 , Bi-Connect Terminals On Both Sides , Air Flow Channels , 7 Year Warranty , Bi-stable DIN-Clip helps for installation , Line Load Reversibility , IS/IEC Certified | Polycab Isolator offers a visible and reliable way to physically separate a portion of the electrical system from the power supply, preventing the flow of electricity and reducing the risk of electrical accidents | https://polycab.com/isolator-sp-pole-63-ampere/c-5006/p-55814 | /Polycab/Switchgear/polycab_isolator_switchgear/images/Isolator_SP_image.png | Downloaded
Isolator | Isolator | Switchgear | Polycab |  | Provides isolation between load and supply | ₹907 - ₹1,451 | 80A, 63A, 100A, 125A, 40A | N/A | TP | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Amperage: 80A ; Poles: TP | Real Contact Position Indication , Large Terminals With Safety Shutter , Circuit Label Holder , Padlocking Provision Available , Dual Contacts Breaking Mechanism , Finger Proof Terminals IP20 , Bi-Connect Terminals On Both Sides , Air Flow Channels , 7 Year Warranty , Bi-stable DIN-Clip helps for installation , Line Load Reversibility , IS/IEC Certified | Polycab Isolator offers a visible and reliable way to physically separate a portion of the electrical system from the power supply, preventing the flow of electricity and reducing the risk of electrical accidents | https://polycab.com/isolator-tp-pole-80-ampere/c-5006/p-55822 | /Polycab/Switchgear/polycab_isolator_switchgear/images/Isolator_TP_image.png | Downloaded
Isolator | Isolator | Switchgear | Polycab |  | Provides isolation between load and supply | ₹1,209 - ₹2,078 | 63A, 80A, 100A, 125A, 40A | N/A | FP | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Amperage: 63A ; Poles: FP | Real Contact Position Indication , Large Terminals With Safety Shutter , Circuit Label Holder , Padlocking Provision Available , Dual Contacts Breaking Mechanism , Finger Proof Terminals IP20 , Bi-Connect Terminals On Both Sides , Air Flow Channels , 7 Year Warranty , Bi-stable DIN-Clip helps for installation , Line Load Reversibility , IS/IEC Certified | Polycab Isolator offers a visible and reliable way to physically separate a portion of the electrical system from the power supply, preventing the flow of electricity and reducing the risk of electrical accidents | https://polycab.com/isolator-fp-pole-63-ampere/c-5006/p-55826 | /Polycab/Switchgear/polycab_isolator_switchgear/images/Isolator_FP_image.png | Downloaded
Isolator | Isolator | Switchgear | Polycab |  | Provides isolation between load and supply | ₹600 - ₹1,003 | 40A, 125A, 63A, 80A, 100A | N/A | DP | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Amperage: 40A ; Poles: DP | Real Contact Position Indication , Large Terminals With Safety Shutter , Circuit Label Holder , Padlocking Provision Available , Dual Contacts Breaking Mechanism , Finger Proof Terminals IP20 , Bi-Connect Terminals On Both Sides , Air Flow Channels , 7 Year Warranty , Bi-stable DIN-Clip helps for installation , Line Load Reversibility , IS/IEC Certified | Polycab Isolator offers a visible and reliable way to physically separate a portion of the electrical system from the power supply, preventing the flow of electricity and reducing the risk of electrical accidents | https://polycab.com/isolator-dp-pole-40-ampere/c-5006/p-55815 | /Polycab/Switchgear/polycab_isolator_switchgear/images/Isolator_DP_image.png | Downloaded