## Product Data
Cable_Name | Product_Type | Standards | Certifications | Key_Features | Short_Description | Full_Description | Product_URL | Image_Path | Brochure_Path | Image_Download_Status | Brochure_Download_Status
Polycab IGNIS 210 | Fire Protection Cable | BS 7846 | CE, FQC | High Resistant to Fire, Reduced flame Propagation, Heat resistant, Low toxicity, Fire barrier | Stranded copper conductor,Heat barrier mica taped, XLPE Insulation, laid up core, LSZH Inner sheathed & GI armoured & LSZH Outer sheathed FS cable | POLYCAB FS-YL Multicore core Armoured cable is suitable to use in various indoor & outdoor applications where continuity of power supply during the event of fire, is highly essential and corrosive gas evaluation could be a cause of hazard to the people or the precision instruments in high rise building, schools, hospitals, hotels, Malls, Subways etc. | https://polycab.com/polycab-ignis-210/pt-13195/p-54866 | polycab_fire_protection_cable/images/Polycab_IGNIS_210_image.png | polycab_fire_protection_cable/brochures/Polycab_IGNIS_210_datasheet.pdf | Downloaded | Downloaded
Polycab IGNIS 200 | Fire Protection Cable | BS 7846 | CE, FQC | High Resistant to Fire, Reduced flame Propagation, Heat resistant, Low toxicity, Fire barrier | Stranded copper conductor,Heat barrier mica taped, XLPE Insulation, laid up core, FRLS Inner sheathed & GI armoured & FRLS PVC Outer sheathed FS cable | POLYCAB FS-YL Multicore core Armoured cable is suitable to use in various indoor & outdoor applications where continuity of power supply during the event of fire, is highly essential and corrosive gas evaluation could be a cause of hazard to the people or the precision instruments in high rise building, schools, hospitals, hotels, Malls, Subways etc. | https://polycab.com/polycab-ignis-200/pt-13195/p-54864 | polycab_fire_protection_cable/images/Polycab_IGNIS_200_image.png | polycab_fire_protection_cable/brochures/Polycab_IGNIS_200_datasheet.pdf | Downloaded | Downloaded
Polycab IGNIS 220 | Fire Protection Cable | BS 7846 | CE, FQC | High Resistant to Fire, Reduced flame Propagation, Heat resistant, Low toxicity, Fire barrier | Stranded copper conductor,Heat barrier mica taped, EBXL Insulation, laid up core, LSZH Inner sheathed & GI armoured & LSZH Outer sheathed FS cable | POLYCAB FS P Multicore core Armoured cable is suitable to use in various indoor & outdoor applications where continuity of power supply during the event of fire, is highly essential and corrosive gas evaluation could be a cause of hazard to the people or the precision instruments in high rise building, schools, hospitals, hotels, Malls, Subways etc. | https://polycab.com/polycab-ignis-220/pt-13195/p-54868 | polycab_fire_protection_cable/images/Polycab_IGNIS_220_image.png | polycab_fire_protection_cable/brochures/Polycab_IGNIS_220_datasheet.pdf | Downloaded | Downloaded
Polycab Firealarm Shielded Unarmoured Cable | Fire Protection Cable | BSEN 50288-7 | CE, FQC | High current carrying capacity, Low leakage current, High insulation resistance, High data transmission | Two Core copper, XLPE Insulation, Ovrl Screened,FRLS PVC Outer sheathed cable | POLYCAB Fire alarm signal cable stranded copper conductor, XLPE insulated, cores twisted, shielded & FRLS PVC sheathed cable is designed to use for conveying signal from fire/smoke sensor to the firefighting equipment panels in hospital, schools commercial complex & industries for security systems. | https://polycab.com/polycab-firealarm-shielded-unarmoured-cable/pt-13195/p-54792 | polycab_fire_protection_cable/images/Polycab_Firealarm_Shielded_Unarmoured_Cable_image.png | polycab_fire_protection_cable/brochures/Polycab_Firealarm_Shielded_Unarmoured_Cable_datasheet.pdf | Downloaded | Downloaded
Polycab IGNIS 241 | Fire Protection Cable | BS 7211 | CE, FQC | High Resistant to Fire, Halogen Free, Reduced Flame Propagation, Low toxicity, Fire barrier | Stranded copper conductor,Heat barrier mica taped, Cross-linked Halogen Free Flame Retardant Insulation & Cross-linked Low Smoke Halogen Free Flame Retardant Sheath Single core FS cable | POLYCAB FS Single Core Sheathed cable is suitable to use in various indoor & outdoor applications such as tunnels, high rise building, schools, hospitals, hotels, Malls, Subways for emergency lighting during the event of fire. | https://polycab.com/polycab-ignis-241/pt-13195/p-54884 | polycab_fire_protection_cable/images/Polycab_IGNIS_241_image.png | polycab_fire_protection_cable/brochures/Polycab_IGNIS_241_datasheet.pdf | Downloaded | Downloaded
Polycab IGNIS 215 | Fire Protection Cable | BS 7629-1 | CE, FQC | High Resistant to Fire, Reduced flame Propagation, Heat resistant, Low toxicity, Fire barrier | Stranded copper conductor,Heat barrier mica taped, XLPE insulation, twisted& laid up,Individusl & overall Al-mylar screened & LSZH Innersheathed, GI armored & LSZH Outer sheathed Shielded FS cable | POLYCAB FS Multipair Individual & Overall Shielded Armoured cable is suitable to use in various indoor & outdoor applications where signal transmission during emergency services during the event of fire, is highly essential and corrosive gas evaluation could be a cause of hazard to the people in high rise building, schools, hospitals, hotels, Malls, Subways etc. | https://polycab.com/polycab-ignis-215/pt-13195/p-54880 | polycab_fire_protection_cable/images/Polycab_IGNIS_215_image.png | polycab_fire_protection_cable/brochures/Polycab_IGNIS_215_datasheet.pdf | Downloaded | Downloaded
Polycab IGNIS 212 | Fire Protection Cable | BS 7629-1 | CE, FQC | High Resistant to Fire, Reduced flame Propagation, Heat resistant, Low toxicity, Fire barrier | Stranded copper conductor,Heat barrier mica taped, XLPE insulation, twisted& laid up, overall Al-mylar screened & LSZH Outer sheathed pair Shielded FS cable | POLYCAB FS Multipair Shielded cable is suitable to use in various indoor & outdoor applications where signal transmission during the event of fire, is highly essential and corrosive gas evaluation could be a cause of hazard to the people in high rise building, schools, hospitals, hotels, Malls, Subways etc. | https://polycab.com/polycab-ignis-212/pt-13195/p-54874 | polycab_fire_protection_cable/images/Polycab_IGNIS_212_image.png | polycab_fire_protection_cable/brochures/Polycab_IGNIS_212_datasheet.pdf | Downloaded | Downloaded
Polycab Firealarm Armoured Cable | Fire Protection Cable | BS 5467 | CE, FQC | High current carrying capacity, Low leakage current, High insulation resistance, High data transmission, Good mechanical strength | Two Core copper, XLPE Insulation, PVC inner sheathed, armoured ,FRLS PVC Outer sheathed cable | POLYCAB Fire alarm cable stranded copper conductor, XLPE insulated, cores laid up, PVC Inner sheathed, GI wire armoured & FRLS PVC outer sheath twin cable is used for powering firefighting equipment’s in hospital, schools, commercial complex & industries in fire security systems. | https://polycab.com/polycab-firealarm-armoured-cable/pt-13195/p-54786 | polycab_fire_protection_cable/images/Polycab_Firealarm_Armoured_Cable_image.png | polycab_fire_protection_cable/brochures/Polycab_Firealarm_Armoured_Cable_datasheet.pdf | Downloaded | Downloaded
Polycab IGNIS 240 | Fire Protection Cable | BS 8592 | CE, FQC | High Resistant to Fire, Halogen Free, Reduced Flame Propagation, Low toxicity, Fire barrier | Stranded copper conductor,Heat barrier mica taped, Cross-linked Halogen Free Flame Retardant Insulation Single core FS cable | POLYCAB FS Single Core cable is suitable to use in various indoor & outdoor applications such as tunnels, high rise building, schools, hospitals, hotels, Malls, Subways for emergency lighting during the event of fire. | https://polycab.com/polycab-ignis-240/pt-13195/p-54882 | polycab_fire_protection_cable/images/Polycab_IGNIS_240_image.png | polycab_fire_protection_cable/brochures/Polycab_IGNIS_240_datasheet.pdf | Downloaded | Downloaded
Polycab IGNIS 213 | Fire Protection Cable | BS 7629-1 | CE, FQC | High Resistant to Fire, Reduced flame Propagation, Heat resistant, Low toxicity, Fire barrier | Stranded copper conductor,Heat barrier mica taped, XLPE insulation, twisted& laid up,Individual & Al-mylar screened & LSZH Outer sheathed pair Shielded FS cable | POLYCAB FS Multipair Individual & Overall Shielded cable is suitable to use in various indoor & outdoor applications where signal transmission during the event of fire, is highly essential and corrosive gas evaluation could be a cause of hazard to the people in high rise building, schools, hospitals, hotels, Malls, Subways etc. | https://polycab.com/polycab-ignis-213/pt-13195/p-54876 | polycab_fire_protection_cable/images/Polycab_IGNIS_213_image.png | polycab_fire_protection_cable/brochures/Polycab_IGNIS_213_datasheet.pdf | Downloaded | Downloaded
Polycab Firealarm Shielded Armoured Cable | Fire Protection Cable | BSEN 50288-7 | CE, FQC | High current carrying capacity, Low leakage current, High insulation resistance, High data transmission, Good mechanical strength | Two Core copper, XLPE Insulation, Ovrl Screened,PVC inner sheathed, armoured ,FRLS PVC Outer sheathed cable | POLYCAB Fire alarm signal cable stranded copper conductor, XLPE insulated, cores twisted, shielded & armoured cable is designed to use for conveying signal from fire/smoke sensor to the firefighting equipment panels in hospital, schools commercial complex & industries for security systems | https://polycab.com/polycab-firealarm-shielded-armoured-cable/pt-13195/p-54790 | polycab_fire_protection_cable/images/Polycab_Firealarm_Shielded_Armoured_Cable_image.png | polycab_fire_protection_cable/brochures/Polycab_Firealarm_Shielded_Armoured_Cable_datasheet.pdf | Downloaded | Downloaded
Polycab IGNIS 211 | Fire Protection Cable | BS 7629-1 | CE, FQC | High Resistant to Fire, Reduced flame Propagation, Heat resistant, Low toxicity, Fire barrier | Stranded copper conductor,Heat barrier mica taped, Cross-linked Halogen Free insulation, laid up cores, Al-mylar screened & LSZH Outer sheathed Shielded FS cable | POLYCAB FS Multicore Shielded cable is suitable to use in various indoor & outdoor applications where control supply to the emergency devices during the event of fire, is highly essential and corrosive gas evaluation could be a cause of hazard to the people in high rise building, schools, hospitals, hotels, Malls, Subways etc. | https://polycab.com/polycab-ignis-211/pt-13195/p-54872 | polycab_fire_protection_cable/images/Polycab_IGNIS_211_image.png | polycab_fire_protection_cable/brochures/Polycab_IGNIS_211_datasheet.pdf | Downloaded | Downloaded
Polycab IGNIS 214 | Fire Protection Cable | BS 7629-1 | CE, FQC | High Resistant to Fire, Reduced flame Propagation, Heat resistant, Low toxicity, Fire barrier | Stranded copper conductor,Heat barrier mica taped, XLPE insulation, twisted& laid up,overall Al-mylar screened & LSZH Innersheathed, GI armored & LSZH Outer sheathed Shielded FS cable | POLYCAB FS Multipair Shielded Armoured cable is suitable to use in various indoor & outdoor applications where signal transmission during emergency services during the event of fire, is highly essential and corrosive gas evaluation could be a cause of hazard to the people in high rise building, schools, hospitals, hotels, Malls, Subways etc | https://polycab.com/polycab-ignis-214/pt-13195/p-54878 | polycab_fire_protection_cable/images/Polycab_IGNIS_214_image.png | polycab_fire_protection_cable/brochures/Polycab_IGNIS_214_datasheet.pdf | Downloaded | Downloaded
Polycab IGNIS 230 | Fire Protection Cable | BS 7846 | CE, FQC | High Resistant to Fire, Reduced flame Propagation, Heat resistant, Low toxicity, Fire barrier | Stranded copper conductor,Heat barrier mica taped, silicon Insulation, laid up core, LSZH Inner sheathed & GI armoured & LSZH Outer sheathed FS cable | POLYCAB FS E Multicore core Armoured cable is suitable to use in various indoor & outdoor applications where continuity of power supply during the event of fire, is highly essential and corrosive gas evaluation could be a cause of hazard to the people or the precision instruments in high rise building, schools, hospitals, hotels, Malls, Subways etc. | https://polycab.com/polycab-ignis-230/pt-13195/p-54870 | polycab_fire_protection_cable/images/Polycab_IGNIS_230_image.png | polycab_fire_protection_cable/brochures/Polycab_IGNIS_230_datasheet.pdf | Downloaded | Downloaded
Polycab IGNIS 242 | Fire Protection Cable | BS 6724 | CE, FQC | High Resistant to Fire, Halogen Free, Reduced Flame Propagation, Low toxicity, Fire barrier | Stranded copper conductor,Heat barrier mica taped, Cross-linked Halogen Free Flame Retardant Insulation, Aluminium armored & Cross-linked Low Smoke Halogen Free Flame Retardant Sheath Single core FS cable | POLYCAB FS Single Core Armoured and Sheathed cable is suitable to use in various indoor & outdoor applications such as tunnels, high rise building, schools, hospitals, hotels, Malls, Subways for emergency lighting during the event of fire. | https://polycab.com/polycab-ignis-242/pt-13195/p-54886 | polycab_fire_protection_cable/images/Polycab_IGNIS_242_image.png | polycab_fire_protection_cable/brochures/Polycab_IGNIS_242_datasheet.pdf | Downloaded | Downloaded
Polycab Firealarm Unarmoured Cable | Fire Protection Cable | Polycab standard | CE, FQC | High current carrying capacity, Low leakage current, High insulation resistance, High data transmission | Two Core copper, XLPE Insulation, PVC inner sheathed, unarmoured ,FRLS PVC Outer sheathed cable | POLYCAB Fire alarm cable stranded copper conductor, XLPE insulated, cores laid up & FRLS PVC outer sheath twin cable is used for powering firefighting equipment’s in hospital, schools, commercial complex & industries in fire security systems | https://polycab.com/polycab-firealarm-unarmoured-cable/pt-13195/p-54788 | polycab_fire_protection_cable/images/Polycab_Firealarm_Unarmoured_Cable_image.png | polycab_fire_protection_cable/brochures/Polycab_Firealarm_Unarmoured_Cable_datasheet.pdf | Downloaded | Downloaded