## Lighting Data
Name | Product_Type | Type | Brand | Model_Number | Short_Description | Price | Colors | Wattage | Lumens | Color_Temperature | Base_Type | Beam_Angle | IP_Rating | Operating_Temperature | Body_Material | Lens_Material | Warranty | Dimmable | Shape | Usage | Specifications | Key_Features | Full_Description | Product_URL | Image_Path | Image_Download_Status
Neo Slim LED Batten , 2ft | LED Batten | Lighting | Polycab |  | Brighter illumination. | ₹250 | 4000K, Daylight/Neutral White | 20 | N/A | 4000K, Daylight/Neutral White | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Wattage: 20 ; Color Temperature: 4000K, Daylight/Neutral White | 25000 Hrs Burning hours , Instant Start , Indoor application , OK , 120° beam angle , CRI>80 , No UV or IR radiation , Environment friendly , Polycarbonate body & Polycarbonate diffuser , Power Factor > 0.9 , LED Technology , Energy Efficient | Choose your lights from our extensive range of self-ballasting LED Battens to brighten up your home! | https://polycab.com/neo-slim-led-batten-2ft-20-wattage-4000k-daylightneutral-white/c-4988/p-54164 | /Polycab/Lighting/polycab_led_batten_lighting/images/Neo_Slim_LED_Batten_2ft_4000K_DaylightNeutral_White_image.png | Downloaded
Neo Slim Batten | LED Batten | Lighting | Polycab |  | Illuminate your home and save energy upto 85%!* (*Upto 85% saving as compared to traditional bulbs) | ₹650 | 3000K, Warm White | 20 | N/A | 3000K, Warm White | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Wattage: 20 ; Color Temperature: 3000K, Warm White | 25000 Hrs Burning Hours , Instant Start , Indoor application , 4.0 KV Surge Protection , 120° beam angle , CRI>80 , No UV or IR radiation , Environment friendly , Polycarbonate body & Polycarbonate diffuser , Power Factor > 0.9 , LED Technology , Energy Efficient | Choose your lights from our extensive range of self-ballasting LED Battens to brighten up your home! | https://polycab.com/neo-slim-batten-20-wattage-3000k-warm-white/c-4988/p-54154 | /Polycab/Lighting/polycab_led_batten_lighting/images/Neo_Slim_Batten_3000K_Warm_White_image.png | Downloaded
High Wattage LED Batten | LED Batten | Lighting | Polycab |  | Brighter illumination for bigger spaces! | ₹1500 | 6500K, Cool White | 40 | N/A | 6500K, Cool White | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Wattage: 40 ; Color Temperature: 6500K, Cool White | 25000 Hrs Burning Hours , Instant Start , Indoor application , 4.0 KV Surge Protection , 120° beam angle , CRI>80 , No UV or IR radiation , Environment friendly , Aluminium Body With PC diffuser. , Power Factor > 0.9 , LED Technology , Energy Efficient | Choose your lights from our extensive range of self-ballasting LED Battens to brighten up your home! | https://polycab.com/high-wattage-led-batten-40-wattage-6500k-cool-white/c-4988/p-54161 | /Polycab/Lighting/polycab_led_batten_lighting/images/High_Wattage_LED_Batten_6500K_Cool_White_image.png | Downloaded
Neo Slim LED Batten , 2ft | LED Batten | Lighting | Polycab |  | Brighter illumination. | ₹250 | 3000K, Warm White | 20 | N/A | 3000K, Warm White | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Wattage: 20 ; Color Temperature: 3000K, Warm White | 25000 Hrs Burning hours , Instant Start , Indoor application , OK , 120° beam angle , CRI>80 , No UV or IR radiation , Environment friendly , Polycarbonate body & Polycarbonate diffuser , Power Factor > 0.9 , LED Technology , Energy Efficient | Choose your lights from our extensive range of self-ballasting LED Battens to brighten up your home! | https://polycab.com/neo-slim-led-batten-2ft-20-wattage-3000k-warm-white/c-4988/p-54165 | /Polycab/Lighting/polycab_led_batten_lighting/images/Neo_Slim_LED_Batten_2ft_3000K_Warm_White_image.png | Downloaded
Neo Slim Batten | LED Batten | Lighting | Polycab |  | Illuminate your home and save energy upto 85%!* (*Upto 85% saving as compared to traditional bulbs) | ₹650 | 6500K, Cool White | 20 | N/A | 6500K, Cool White | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Wattage: 20 ; Color Temperature: 6500K, Cool White | 25000 Hrs Burning Hours , Instant Start , Indoor application , 4.0 KV Surge Protection , 120° beam angle , CRI>80 , No UV or IR radiation , Environment friendly , Polycarbonate body & Polycarbonate diffuser , Power Factor > 0.9 , LED Technology , Energy Efficient | Choose your lights from our extensive range of self-ballasting LED Battens to brighten up your home! | https://polycab.com/neo-slim-batten-20-wattage-6500k-cool-white/c-4988/p-54152 | /Polycab/Lighting/polycab_led_batten_lighting/images/Neo_Slim_Batten_6500K_Cool_White_image.png | Downloaded
High Wattage LED Batten | LED Batten | Lighting | Polycab |  | Brighter illumination for bigger spaces! | ₹750 | 6500K, Cool White | 24 | N/A | 6500K, Cool White | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Wattage: 24 ; Color Temperature: 6500K, Cool White | 10 Years Long Life # , Instant Start , Indoor application , 4.0 KV Surge Protection , 120° beam angle , CRI>80 , No UV or IR radiation , Environment friendly , Polycarbonate body & Polycarbonate diffuser , Power Factor > 0.9 , LED Technology , Energy Efficient | Choose your lights from our extensive range of self-ballasting LED Battens to brighten up your home! | https://polycab.com/high-wattage-led-batten-24-wattage-6500k-cool-white/c-4988/p-54158 | /Polycab/Lighting/polycab_led_batten_lighting/images/High_Wattage_LED_Batten_6500K_Cool_White_image.png | Downloaded
3-in-1 CCT LED Batten | LED Batten | Lighting | Polycab |  | Illuminate your home and save energy upto 85%!* (*Upto 85% saving as compared to traditional bulbs) | ₹800 | 3-In-1 Cct, Cool White/Warm White/Daylight White | 20 | N/A | 3-in-1 CCT, Cool White/Warm White/Daylight White | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Wattage: 20 ; Color Temperature: 3-in-1 CCT, Cool White/Warm White/Daylight White | 25000 Hrs Burning Hours , Instant Start , Indoor application , 4.0 KV Surge Protection , 120° beam angle , CRI>80 , No UV or IR radiation , Environment friendly , Polycarbonate body & Polycarbonate diffuser , Power Factor > 0.9 , LED Technology , Energy Efficient | Switch on a shade of your choice at the toggle of a switch! Default color cycle - Cool White-Warm White-Daylight/Neutral White | https://polycab.com/3-in-1-cct-led-batten-20-wattage-3-in-1-cct-cool-whitewarm-whitedaylight-white/c-4988/p-54156 | /Polycab/Lighting/polycab_led_batten_lighting/images/3-in-1_CCT_LED_Batten_3-In-1_Cct_Cool_WhiteWarm_WhiteDaylight_White_image.png | Downloaded
High Wattage LED Batten | LED Batten | Lighting | Polycab |  | Brighter illumination for bigger spaces! | ₹750 | 3000K, Warm White | 24 | N/A | 3000K, Warm White | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Wattage: 24 ; Color Temperature: 3000K, Warm White | 10 Years Long Life # , Instant Start , Indoor application , 4.0 KV Surge Protection , 120° beam angle , CRI>80 , No UV or IR radiation , Environment friendly , Polycarbonate body & Polycarbonate diffuser , Power Factor > 0.9 , LED Technology , Energy Efficient | Choose your lights from our extensive range of self-ballasting LED Battens to brighten up your home! | https://polycab.com/high-wattage-led-batten-24-wattage-3000k-warm-white/c-4988/p-54159 | /Polycab/Lighting/polycab_led_batten_lighting/images/High_Wattage_LED_Batten_3000K_Warm_White_image.png | Downloaded
Neo Slim LED Batten , 2ft | LED Batten | Lighting | Polycab |  | Brighter illumination. | ₹250 | 6500K, Cool White | 20 | N/A | 6500K, Cool White | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Wattage: 20 ; Color Temperature: 6500K, Cool White | 25000 Hrs Burning hours , Instant Start , Indoor application , OK , 120° beam angle , CRI>80 , No UV or IR radiation , Environment friendly , Polycarbonate body & Polycarbonate diffuser , Power Factor > 0.9 , LED Technology , Energy Efficient | Choose your lights from our extensive range of self-ballasting LED Battens to brighten up your home! | https://polycab.com/neo-slim-led-batten-2ft-20-wattage-6500k-cool-white/c-4988/p-54163 | /Polycab/Lighting/polycab_led_batten_lighting/images/Neo_Slim_LED_Batten_2ft_6500K_Cool_White_image.png | Downloaded
High Wattage LED Batten | LED Batten | Lighting | Polycab |  | Brighter illumination for bigger spaces! | ₹1000 | 6500K, Cool White | 30 | N/A | 6500K, Cool White | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Wattage: 30 ; Color Temperature: 6500K, Cool White | 25000 Hrs Burning Hours , Instant Start , Indoor application , 4.0 KV Surge Protection , 120° beam angle , CRI>80 , No UV or IR radiation , Environment friendly , Polycarbonate body & Polycarbonate diffuser , Power Factor > 0.9 , LED Technology , Energy Efficient | Choose your lights from our extensive range of self-ballasting LED Battens to brighten up your home! | https://polycab.com/high-wattage-led-batten-30-wattage-6500k-cool-white/c-4988/p-54160 | /Polycab/Lighting/polycab_led_batten_lighting/images/High_Wattage_LED_Batten_6500K_Cool_White_image.png | Downloaded
Neo Slim Batten | LED Batten | Lighting | Polycab |  | Illuminate your home and save energy upto 85%!* (*Upto 85% saving as compared to traditional bulbs) | ₹650 | 4000K, Daylight/Neutral White | 20 | N/A | 4000K, Daylight/Neutral White | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Wattage: 20 ; Color Temperature: 4000K, Daylight/Neutral White | 25000 Hrs Burning Hours , Instant Start , Indoor application , 4.0 KV Surge Protection , 120° beam angle , CRI>80 , No UV or IR radiation , Environment friendly , Polycarbonate body & Polycarbonate diffuser , Power Factor > 0.9 , LED Technology , Energy Efficient | Choose your lights from our extensive range of self-ballasting LED Battens to brighten up your home! | https://polycab.com/neo-slim-batten-20-wattage-4000k-daylightneutral-white/c-4988/p-54153 | /Polycab/Lighting/polycab_led_batten_lighting/images/Neo_Slim_Batten_4000K_DaylightNeutral_White_image.png | Downloaded