## Product Data
ID | Name | Brand | Category | Rating | Reviews | ShortDescription
1 | Cable Joints & Termination | CABSEAL | CABSEAL | 4 | 5 | Heat-shrink and cold-shrink cable jointing and termination kits up to 33 kV, CPRI-approved.
2 | BI-METALLIC CABLE LUGS & CONNECTORS | DOWELL'S | DOWELL'S | 1 | 68 | Friction-welded bi‑metallic lugs and connectors for joining aluminum conductors to copper.
3 | DOWELL'S BRASS CABLE GLANDS & ACCESSORIES | DOWELL'S | DOWELL'S | 2 | 5 | Double-compression brass glands and accessories for armoured cables, weatherproof DBW and flameproof DBF series.
4 | Dowell's CONNECTORS | DOWELL'S | DOWELL'S | 2 | 94 | Range of copper, aluminium, and sector in-line connectors for reliable cable terminations.
5 | SECTOR CABLE LUGS & CONNECTORS | DOWELL'S | DOWELL'S | 2 | 49 | Sector-shaped lugs and connectors engineered for secure power distribution terminations.
6 | HAGER h3+ 630 Technical | HAGERS | HAGERS | 1 | 6 | h3+ MCCBs up to 630 A, 3/4 poles, breaking capacity up to 70 kA.
7 | HAGER Air circuit breakers HW | HAGERS | HAGERS | 3 | 51 | HW series air circuit breakers, 630–4000 A, robust protection and maintainability for LV systems.
8 | HAGER Motor Control and Protection Range | HAGERS | HAGERS | 2 | 52 | Comprehensive motor control and protection devices: MPCBs, starters, auxiliaries for efficient motor management.
9 | HAGERS H3 MCCB | HAGERS | HAGERS | 5 | 77 | Hager h3 MCCBs offer reliable overload and short-circuit protection across wide current ratings.
10 | Hager Manual Changeover Switch | HAGERS | HAGERS | 2 | 55 | Modular manual changeover switches for secure power transfer in single or three-phase installations.
11 | HAGERS Auto Transfer Switch | HAGERS | HAGERS | 3 | 6 | Automatic transfer switches for seamless source changeover, available up to 1600 A.
12 | HAGERS Air Circuit Breaker | HAGERS | HAGERS | 2 | 68 | Air circuit breakers with advanced trip units for reliable low-voltage distribution protection.
13 | HAGERS H3+ MCCB | HAGERS | HAGERS | 2 | 36 | h3+ MCCBs: compact frames, 25–630 A, up to 70 kA breaking capacity.
14 | HAGERS Novello Plus | HAGERS | HAGERS | 1 | 95 | Novello+ distribution boards combine innovative features, aesthetics, and safety for modern installations.
15 | HAGERS Vector | HAGERS | HAGERS | 5 | 17 | Vector waterproof enclosures, IP55, modular widths up to 54 modules for distribution.
16 | HAGERS Golf | HAGERS | HAGERS | 1 | 76 | Golf enclosures for residential distribution, designed for swift installation and ample wiring space.
17 | HAGERS APTIS | HAGERS | HAGERS | 2 | 3 | Aptis distribution and protection range: DBs, MCBs, RCCBs, SPDs for versatile installations.
18 | HAGERS Time Switches | HAGERS | HAGERS | 5 | 84 | Analog and digital modular time switches for day, week or year scheduling.
19 | HAGERS Detectors | HAGERS | HAGERS | 3 | 60 | Motion and presence detectors to enhance comfort, save energy, and improve safety.
20 | HAGERS WIRING ACCESSORIES-insysta™ | HAGERS | HAGERS | 3 | 38 | Insysta wiring accessories: modular switches, sockets, regulators, front plates, and durable metal boxes.
21 | HAGERS Berker switches and systems | HAGERS | HAGERS | 4 | 69 | Premium switch ranges and smart building systems combining design, durability, and KNX compatibility.
22 | HAGERS Miniature Circuit Breaker | HAGERS | HAGERS | 4 | 31 | DIN-rail MCBs providing reliable overload and short-circuit protection across multiple curves.
23 | HAGERS Auxiliaries and Accessories | HAGERS | HAGERS | 5 | 68 | Aux contacts, shunt trip, undervoltage releases, motor operators, interlocks for protection devices.
24 | HAGERS Residual Current Circuit Breaker | HAGERS | HAGERS | 3 | 90 | Residual current circuit breakers for AC/Type A protection, 2P/4P, various sensitivities and ratings.
25 | HAGERS SURGE PROTECTION DEVICES | HAGERS | HAGERS | 1 | 54 | Type 1 and Type 2 SPDs safeguarding installations from lightning and switching transients.
26 | HAGERS Fuse Carrier | HAGERS | HAGERS | 1 | 56 | DIN-rail fuse holders and NH disconnectors for safe circuit protection and isolation.
27 | HAGERS Cartridge Fuse | HAGERS | HAGERS | 3 | 45 | HRC cartridge fuses 10x38, 14x51, high breaking capacity for industrial protection.
28 | HAGERS Isolating Switches | HAGERS | HAGERS | 1 | 82 | Enclosed load break isolators IP65/66, AC-22A/AC-23A, 2–4 pole options.
29 | HAGERS Changeover Switches | HAGERS | HAGERS | 2 | 13 | Manual and motorized changeover switches for source transfer, 63–1600 A ratings.
30 | HAGERS Indicating Lights | HAGERS | HAGERS | 5 | 73 | Modular LED indicator lights for status signaling, available in various colors and voltages.
31 | HAGERS Push Buttons | HAGERS | HAGERS | 4 | 14 | DIN-rail pushbutton modules with LED indication for control and signalling circuits.
32 | HAGERS Modular Bells and Buzzers | HAGERS | HAGERS | 2 | 50 | DIN-rail bells and buzzers for audible alerts in panels and automation.
33 | HAGERS Modular Contactor | HAGERS | HAGERS | 5 | 0 | ESC series modular contactors for lighting, heating, ventilation loads, silent operation.
34 | HAGERS Latching Relay | HAGERS | HAGERS | 1 | 48 | Impulse latching relays for centralized lighting control, low-noise, DIN-rail mounted.
35 | HAGERS AU Solution | HAGERS | HAGERS | 2 | 72 | Solutions tailored for Australian standards: protection, enclosures, metering, smart energy management.
36 | Presence and Movement Detector | HAGERS | HAGERS | 2 | 90 | Motion and presence detectors for automation, energy savings, improved comfort and security.
37 | L&K Electrical & Automation, Panel Accessories | L&K SWITCHGEAR | L&K SWITCHGEAR | 2 | 35 | Panel accessories and LV switchgear components from Lauritz Knudsen Electrical & Automation.
38 | GT Connector Water Tight | NEPTUNE | NEPTUNE | 2 | 36 | IP67 watertight GT connectors for robust industrial connections, multiple pin configurations.
39 | GT Connector with Cable Sleeve | NEPTUNE | NEPTUNE | 4 | 51 | GT connector with cable sleeve, IP44, enhanced strain relief and secure cable entry.
40 | Modbox Enclosure & Junction Boxes | NEPTUNE | NEPTUNE | 2 | 80 | Modular IP65 enclosures and junction boxes for industrial distribution and control.
41 | Panel Mounting Socket Outlet Straight | NEPTUNE | NEPTUNE | 2 | 15 | Panel-mount straight socket outlets, IP44/IP67 options, durable industrial-grade construction.
42 | Panel Mounting Socket Outlet Angled | NEPTUNE | NEPTUNE | 1 | 97 | Angled panel-mount socket outlets for convenient wiring, available in IP44 and IP67.
43 | Socket Outlet Straight | NEPTUNE | NEPTUNE | 1 | 57 | Straight industrial sockets, IP44/IP67, reliable connections for harsh environments.
44 | Socket Outlet Angled | NEPTUNE | NEPTUNE | 3 | 6 | Angled industrial socket outlets offering ergonomic access and secure connections.
45 | Plug IP44 | NEPTUNE | NEPTUNE | 4 | 95 | Industrial plugs rated IP44 for splash-proof protection, multiple currents and pin configurations.
46 | Plug IP67 | NEPTUNE | NEPTUNE | 3 | 32 | Rugged IP67 industrial plugs for dust-tight, watertight connections in demanding applications.
47 | Surface Mounting Socket Outlet with MCB Fused IP67 | NEPTUNE | NEPTUNE | 1 | 44 | Surface-mount socket with integrated MCB, IP67, enhanced protection and convenience.
48 | Socket Outlet IP-44 | NEPTUNE | NEPTUNE | 1 | 77 | Industrial socket outlets with IP44 splash protection for general-purpose indoor/outdoor use.
49 | Socket Outlet IP-67 | NEPTUNE | NEPTUNE | 2 | 18 | Heavy-duty socket outlets with IP67 ingress protection for harsh, wet environments.
50 | ENERGY METER (Dual Source) | NEPTUNE | NEPTUNE | 4 | 3 | Dual-source energy meter measuring consumption from two supplies, RS-485 options available.
51 | Harmonic Filters | NEPTUNE | NEPTUNE | 5 | 82 | Active and passive harmonic filters improving power quality, reducing THD and losses.
52 | DUCA POWER CAPACITOR | NEPTUNE | NEPTUNE | 4 | 4 | Duca Power XD capacitors, super heavy-duty APP technology for power factor correction.
53 | Polycab Optical Fibre | POLYCAB | POLYCAB | 4 | 70 | Single-mode and multimode fiber cables: duct, armored, aerial, FTTH designs.
54 | Polycab Uninyvin Cable | POLYCAB | CABLES | 1 | 52 | High-temperature 105°C Uninyvin cables with tinned copper, PVC/nylon braiding, 600V rating.
55 | LAN Cable | POLYCAB | CABLES | 4 | 45 | Cat6/Cat6A LAN cables supporting Gigabit Ethernet, reliable high-speed data transmission.
56 | CCTV CABLES | POLYCAB | CABLES | 3 | 46 | 3+1 and 4+1 CCTV cables: RG59 coax plus power cores, jelly flooded options.
57 | JELLY FLOODED COAXIAL CABLES | POLYCAB | CABLES | 1 | 14 | Coaxial cables flooded with jelly, improved moisture resistance, suitable for outdoor installations.
58 | POLYCAB BMS 300/500 Cable | POLYCAB | CABLES | 3 | 15 | Shielded FR-LSH BMS cables rated 300/500 V for building automation systems.
59 | POLYCAB'S CATHODIC PROTECTION CABLES | POLYCAB | CABLES | 1 | 51 | Fluoropolymer insulated, HMWPE sheathed cables for cathodic protection, abrasion and chemical resistant.
60 | Polycab IGNIS Fire Survival Cables | POLYCAB | CABLES | 3 | 92 | Fire survival cables conforming to IEC/BS, maintain circuit integrity under fire conditions.
61 | POLYCAB CAT 6 & CAT 6A CABLE | POLYCAB | CABLES | 5 | 97 | Cat6 and Cat6A cables delivering high-speed, low-latency data and PoE performance.
62 | Polycab - LT XLPE Cable | POLYCAB | CABLES | 4 | 25 | XLPE insulated LT power and control cables, 650/1100 V, superior current capacity.
63 | Polycab Telephone Wire | POLYCAB | CABLES | 1 | 36 | Telephone switchboard cables per ITD specs, reliable voice/data transmission.
64 | POLYCAB UNINYVIN Single Core Flexible Uninyvin Cables, 600V AC | POLYCAB | CABLES | 5 | 11 | Single-core flexible Uninyvin cables, oil and abrasion resistant, 600 V rated.
65 | POLYCAB HIGH TENSION CABLE | POLYCAB | CABLES | 5 | 79 | HT XLPE power cables 3.3–33 kV for industrial and utility distribution.
66 | POLYCAB Heavy Duty and Light Duty Cables | POLYCAB | CABLES | 1 | 71 | Comprehensive heavy-duty power/control and light-duty building wires portfolio.
67 | Polycab Extra High Voltage (EHV) Cable | POLYCAB | CABLES | 4 | 12 | XLPE EHV cables 66–220 kV for underground transmission, copper or aluminium conductors.
68 | POLYCAB LT XLPE INSULATED HEAVY DUTY CABLES 650/1100V | POLYCAB | CABLES | 1 | 24 | LT XLPE insulated heavy-duty cables, robust sheath options FR/FRLS/LSZH.
69 | POLYCAB RUBBER CABLE | POLYCAB | CABLES | 2 | 98 | EPR/PCP rubber insulated welding and trailing cables for flexible, rugged applications.
70 | POLYCAB PANEL BUILDERS | POLYCAB | CABLES | 3 | 76 | Panel-building solutions using Polycab cables and accessories for reliable, compliant assemblies.
71 | POLYCAB OPTICAL FIBER CABLES & FRP RODS | POLYCAB | CABLES | 3 | 52 | Optical fiber cables with FRP strength members; up to 144 fibers, robust non-metallic design.
72 | Polycab, CCTV (Closed Circuit Television) cable | POLYCAB | COMMUNICATION CABLES | 5 | 48 | RG59-based CCTV cables with additional power cores; jelly flooded options for outdoor use.
73 | Polycab, Jelly flooded Co-axial cable | POLYCAB | COMMUNICATION CABLES | 3 | 45 | Coaxial cables flooded with jelly for moisture resistance; suitable for external installations.
74 | Polycab, Speaker cable | POLYCAB | COMMUNICATION CABLES | 3 | 88 | Oxygen-free copper speaker cables with transparent PVC insulation for low-loss, clear audio.
75 | POLYCAB LAN Cable | POLYCAB | COMMUNICATION CABLES | 3 | 56 | Cat6 and Cat6A LAN cables supporting Gigabit Ethernet, reliable high-speed data transmission.
76 | POLYCAB HR-FR-LSH-LF GREEN WIRE Building wire, 1100 V AC | POLYCAB | ENERGY CABLES | 5 | 7 | Heat resistant, flame retardant, low smoke, low halogen 1100V building wire, flexible.
77 | POLYCAB HFFR-01Z-K/03XZ-K SC Building wire, 1100 V AC | POLYCAB | ENERGY CABLES | 1 | 99 | Halogen-free, low smoke 1100V building wire for conduits and fixed protected installations.
78 | POLYCAB FR-LSH Building wire, 1100 V AC | POLYCAB | ENERGY CABLES | 4 | 27 | Flame retardant low smoke 1100V building wire for safer indoor installations.
79 | POLYCAB FR-LF Building wire, 1100 V AC | POLYCAB | ENERGY CABLES | 5 | 56 | Flame retardant, low halogen 1100V building wire offering flexible, eco-friendly performance.
80 | ETIRA FR Building wire, 1100 V AC | POLYCAB | ENERGY CABLES | 2 | 80 | ETIRA FR 1100V building wire for reliable, flexible wiring per IS 694.
81 | ETIRA FR-LSH Building wire, 1100 V AC | POLYCAB | ENERGY CABLES | 5 | 43 | ETIRA FR-LSH low smoke building wire, 1100V, designed for safety-critical applications.
82 | Polycab Extra High Voltage cables | POLYCAB | ENERGY CABLES | 5 | 2 | XLPE EHV power cables, 66–220 kV, for underground transmission, copper or aluminium conductors.
83 | POLYCAB FIRE SURVIVAL CABLES – IGNIS SERIES | POLYCAB | ENERGY CABLES | 3 | 96 | Fire survival cables maintaining circuit integrity under fire, compliant with IEC and BS.
84 | POLYCAB Elastomeric Insulated Cable Confirming to BS EN 50525-2-21 | POLYCAB | ENERGY CABLES | 1 | 9 | Cross-linked elastomer insulated flexible cables 300/500V, general-purpose heavy-duty applications for industrial equipment.
85 | POLYCAB RUBBER INSULATED FLEXIBLE ELASTOMERIC CABLE CONFORMING TO IS 9968-1 | POLYCAB | ENERGY CABLES | 4 | 78 | EPR insulated, elastomer sheathed 1100V rubber cables for demanding low-voltage power applications.
86 | POLYCAB Festoon Multicore Flat Flexible Cables | POLYCAB | ENERGY CABLES | 2 | 20 | Flat multicore cables for cranes, hoists, lifts; 1100V, highly flexible PVC construction.
87 | Polycab Industrial Screened cable generally confirming to IEC 60227-7 standard | POLYCAB | ENERGY CABLES | 1 | 62 | PVC insulated, braided screen control cables 300/500V for plant and machinery.
88 | Polycab, PVC insulated and PVC sheathed control cable conforming to BS 6004 standard | POLYCAB | ENERGY CABLES | 2 | 86 | PVC insulated and sheathed control cables per BS 6004, 300/500V and 450/750V.
89 | POLYCAB 6181B BS 7211 SC Lighting and Appliances wire | POLYCAB | ENERGY CABLES | 1 | 90 | Single-core LSZH insulated/sheathed 450/750V surface wiring cable for lighting and appliances.
90 | Polycab Singlecore Thermoplastic insulated unsheathed cable BS EN 50525-2-31 standard | POLYCAB | ENERGY CABLES | 2 | 18 | PVC insulated single-core unsheathed 300/500V cables for fixed wiring and control circuits.
91 | Polycab single core halogen free cross linked non-sheathed cable BS EN 50525-3-41 standard | POLYCAB | ENERGY CABLES | 2 | 38 | Halogen-free cross-linked insulated single core 300/500V cables, low smoke emissions.
92 | Polycab industrial cable BIS specification & standard | POLYCAB | ENERGY CABLES | 2 | 44 | Industrial cables complying with BIS standards for 1100V applications across sectors and buildings.
93 | Polycab offers a comprehensive range of HFFR industrial cable conforming to IS 17048 standard | POLYCAB | ENERGY CABLES | 5 | 3 | Halogen-free flame retardant industrial cables 1100V, low smoke, suitable for critical spaces.
94 | POLYCAB MINING CABLE CONFORMING TO IS 14494 and generally conforming to IS 14494. | POLYCAB | ENERGY CABLES | 1 | 37 | FT7 mining trailing cables 1.1kV, rugged flexible designs for mining equipment.
95 | POLYCAB H01N2-D BS EN 50525-2-81 Welding Cable | POLYCAB | ENERGY CABLES | 2 | 40 | Cross-linked elastomer welding cable 100/100V for manual and robotic welding applications.
96 | POLYCAB Welding Cable IS 9857 | POLYCAB | ENERGY CABLES | 4 | 57 | HOFR rubber welding cables for machine and hand welding, durable in wet conditions.
97 | POLYCAB Lighting Appliances Cable | POLYCAB | ENERGY CABLES | 1 | 49 | Flexible cables for domestic appliances and lighting, 1100V, PVC insulated.
98 | POLYCAB Aerial Bunched Cable (ABC) Overhead Power Distribution Cable IS 14255 | POLYCAB | ENERGY CABLES | 5 | 57 | Aerial bunched low-voltage distribution cables for overhead feeders, robust insulation per IS 14255.
99 | POLYCAB LV Power Cable | POLYCAB | ENERGY CABLES | 3 | 14 | LV PVC/XLPE power cables for efficient, safe power transmission up to 1.1kV.
100 | POLYCAB LOW TENSION POWER CABLE IS 7098-P1 | POLYCAB | ENERGY CABLES | 5 | 73 | XLPE insulated 650/1100V cables per IS 7098-1, higher current capacity and reliability.
101 | POLYCAB LV CONTROL CABLE | POLYCAB | ENERGY CABLES | 3 | 89 | Multicore LV control cables, armoured or unarmoured, for automation and process control.
102 | POLYCAB Submersible Industrial cables | POLYCAB | ENERGY CABLES | 5 | 65 | Flat and round submersible pump cables, waterproof, flexible, designed for immersion.
103 | POLYCAB flat Industrial Cords | POLYCAB | ENERGY CABLES | 1 | 24 | Flat industrial cords for moving equipment, durable, flexible cable management.
104 | POLYCAB Rubber Cable | POLYCAB | ENERGY CABLES | 4 | 8 | EPR/PCP rubber cables for flexible power connections in harsh industrial environments.
105 | POLYCAB IS 9968-1 Rubber control Cable 1100 V AC | POLYCAB | ENERGY CABLES | 3 | 96 | Rubber insulated 1100V control cables per IS 9968-1, for demanding control circuits.
106 | POLYCAB Medium Voltage Rubber Flexible Cable | POLYCAB | ENERGY CABLES | 4 | 70 | MV rubber flexible cables for mobile equipment, excellent abrasion, oil, and weather resistance.
107 | POLYCAB Switch gear and Control gear wiring Cable, 600/1000 V AC | POLYCAB | ENERGY CABLES | 3 | 59 | BS 6231 switchgear/control wiring cable, 600/1000V, PVC insulated single-core applications.
108 | POLYCAB Panel Wires | POLYCAB | ENERGY CABLES | 4 | 26 | PVC insulated flexible panel wires, IS 694, reliable for control panels and wiring.
109 | Polycab HFFR Panel wire and cable IS 17048 standards | POLYCAB | ENERGY CABLES | 4 | 12 | Halogen-free flame retardant panel wires 1100V, low smoke, compliant with IS 17048.
110 | POLYCAB Aerial Bunched Cable (ABC) Overhead Power Distribution Cable IS 7098-2 | POLYCAB | ENERGY CABLES | 1 | 63 | Aerial bunched medium-voltage cables per IS 7098-2 for overhead distribution networks.
111 | POLYCAB MEDIUM VOLTAGE HIGH TENSION CABLE AS/NZS 1429.1 | POLYCAB | ENERGY CABLES | 5 | 93 | Medium voltage XLPE cables complying with AS/NZS 1429.1 for Australian/New Zealand networks.
112 | POLYCAB BS 5467 Power Cable | POLYCAB | ENERGY CABLES | 1 | 77 | Armoured XLPE/PVC power cables to BS 5467, low voltage, robust mechanical protection.
113 | Polycab, XLPE insulated Round Wire armored Power cable BS 6622. | POLYCAB | ENERGY CABLES | 3 | 58 | XLPE insulated round wire armoured MV power cables complying with BS 6622.
114 | Polycab, XLPE insulated Round Wire armored LSZH Medium Voltage cable BS 7835 | POLYCAB | ENERGY CABLES | 2 | 86 | LSZH sheathed XLPE insulated MV cables to BS 7835 for low smoke environments.
115 | Polycab, Medium Voltage Copper Wire Screened Power cable BS 7870-4-10 | POLYCAB | ENERGY CABLES | 2 | 2 | Medium voltage copper wire screened power cables per BS 7870-4-10.
116 | POLYCAB MEDIUM VOLTAGE HIGH TENSION CABLE IEC 60502 - 2 | POLYCAB | ENERGY CABLES | 3 | 48 | MV power cables per IEC 60502-2, XLPE insulation, screened, armoured options.
117 | POLYCAB MEDIUM VOLTAGE HIGH TENSION CABLE IS 7098-P2 | POLYCAB | ENERGY CABLES | 2 | 38 | Medium voltage XLPE power cables per IS 7098 Part 2 for utilities and industry.
118 | POLYCAB SILICON RUBBER INSULATED CABLE CONFORMING TO BS EN 50525-2-41. | POLYCAB | ENERGY CABLES | 1 | 39 | Silicone rubber insulated flexible cables 300/500V for high temperature environments.
119 | POLYCAB Instrumentation Cable | POLYCAB | ENERGY CABLES | 5 | 50 | Pairs/triads instrumentation cables for accurate signal transmission, overall/individual shielding options.
120 | POLYCAB BMS CABLE | POLYCAB | SPECIAL CABLES | 4 | 64 | Shielded FR-LSH BMS cables rated 300/500 V for building automation systems.
121 | Polycab Marine cables in compliance with IEC specification & standard | POLYCAB | SPECIAL CABLES | 1 | 59 | Marine and offshore cables complying with IEC 60092 series for power, control, instrumentation.
122 | POLYCAB 02AYY – 2 CORE FLAT Service Cable, 1100 V AC | POLYCAB | SPECIAL CABLES | 1 | 93 | 2-core flat service cable 1100V for power connections, durable PVC insulation and sheath.
123 | POLYCAB uPVC CONDUITS & FITTINGS | POLYCAB | CONDUITS & ACCESSORIES | 3 | 25 | uPVC conduits and fittings per IS 9537, IS 3419; FRLS options, multiple sizes.
124 | POLYCAB AIR CIRCULATOR FANS | POLYCAB | FANS | 5 | 35 | Heavy-duty air circulator fans with metal construction for high airflow in large spaces.
125 | POLYCAB BLDC CELING FANS | POLYCAB | FANS | 5 | 43 | Energy-efficient BLDC ceiling fans offering higher air delivery with lower power consumption.
126 | POLYCAB EXHAUST FANS | POLYCAB | FANS | 1 | 53 | Durable exhaust fans for ventilation, efficient air extraction for kitchens and bathrooms.
127 | POLYCAB FARRATA FANS | POLYCAB | FANS | 1 | 22 | High-speed Farrata pedestal fans for powerful air circulation, heavy-duty metal body.
128 | POLYCAB PEDESTAL FANS | POLYCAB | FANS | 2 | 91 | Pedestal fans with adjustable height and oscillation, high air delivery and stability.
129 | POLYCAB TABLE FANS | POLYCAB | FANS | 2 | 34 | Compact table fans with directional airflow, efficient cooling and portable design.
130 | POLYCAB WALL FANS | POLYCAB | FANS | 3 | 21 | Wall-mounted fans saving floor space, oscillating airflow for targeted cooling.
131 | POLYCAB CELING FANS - PREMIUM | POLYCAB | FANS | 2 | 12 | Designer premium ceiling fans with powerful airflow, silent operation, advanced finishes for modern interiors.
132 | SMART LIGHTING SOLUTIONS | POLYCAB | HOME-SMARTAUTOMATION | 5 | 95 | Wired home automation by HOHM-Moorgen: integrated lighting, climate, shading, security, voice control.
134 | COOLERS | POLYCAB | HOMEAPPLIANCE | 5 | 49 | Personal and desert air coolers delivering high airflow, honeycomb pads, durable build.
135 | POLYCAB HOME APPLIANCES , IRON | POLYCAB | HOMEAPPLIANCE | 3 | 59 | Dry and steam irons with non-stick soleplates, quick heating, efficient wrinkle removal.
136 | WATER HEATER | POLYCAB | HOMEAPPLIANCE | 4 | 36 | Polycab water heaters with multi-safety systems, glasslined tanks, energy-saving insulation.
137 | POLYCAB LIGHTING & LUMINAIRES DOMESTICO | POLYCAB | LIGHTS & LUMINARIES | 3 | 85 | Domestico range: downlights, panels, battens for homes; functional, elegant, efficient lighting.
138 | POLYCAB LIGHTING & LUMINAIRES MODERNIA | POLYCAB | LIGHTS & LUMINARIES | 5 | 21 | Modernia series: sleek contemporary luminaires and tiles, stylish aesthetics with reliable performance.
139 | POLYCAB LIGHTING & LUMINAIRES INDUSTRIA | POLYCAB | LIGHTS & LUMINARIES | 2 | 4 | Industria range: high-bay and industrial luminaires, rugged IP ratings for demanding environments.
140 | POLYCAB LIGHTING & LUMINAIRES URBANIA | POLYCAB | LIGHTS & LUMINARIES | 5 | 56 | Urbania outdoor luminaires for streetscapes, efficient optics, durable construction, contemporary design.
141 | POLYCAB LIGHTING & LUMINAIRES ARENIA | POLYCAB | LIGHTS & LUMINARIES | 1 | 53 | Arenia sports and area lighting delivering high lumen output, uniform illumination, robust build.
142 | POLYCAB LIGHTING & LUMINAIRES GARDENIA | POLYCAB | LIGHTS & LUMINARIES | 4 | 18 | Gardenia landscape luminaires: garden, pathway, and façade lighting with weather-resistant designs.
143 | POLYCAB LIGHTING & LUMINAIRES RESIDENCIAL LIGHTS | POLYCAB | LIGHTS & LUMINARIES | 5 | 17 | Residential lights portfolio: bulbs, downlights, panels, battens, ambient and task lighting.
144 | POLYCAB Domestic & Agriculture Pumps | POLYCAB | PUMP | 4 | 6 | Domestic and agriculture pumps: openwell, monoblock, submersible variants for water supply and irrigation.
145 | POLYCAB SOLAR | POLYCAB | SOLAR | 4 | 85 | Solar solutions: PV modules, inverters, DC cables, BOS components for complete systems.
146 | POLYCAB SOLAR REI | POLYCAB | SOLAR | 4 | 80 | Showcased solar innovations at REI: modules, inverters, DC cables, end-to-end solutions.
147 | POLYCAB SWITCHES _ ACCESSORIES | POLYCAB | SWITCHES | 2 | 30 | Levana modular switches, sockets, regulators, support modules, and accessories for stylish installations.
148 | POLYCAB IR TOUCH SCREEN | POLYCAB | SWITCHES | 5 | 61 | Levana IR touch screen switches: gesture-enabled control, sleek plates, modern aesthetics.
149 | POLYCAB MODULAR PLATES | POLYCAB | SWITCHES | 4 | 63 | Levana modular plates in multiple finishes and sizes, durable and easy to install.
150 | POLYCAB SWITCHGEAR | POLYCAB | SWITCHGEAR | 2 | 57 | Comprehensive switchgear: MCBs, RCCBs, RCBOs, isolators, changeovers, ACCLs, and distribution boards.
151 | POLYCAB TELECOM | POLYCAB | TELECOM | 2 | 52 | Telecom division: optical fiber cables, FTTH, FRP rods, passive networking accessories.
152 | PVC INSULATED INDUSTRIAL CABLES 1100 VOLTS (Green wire) | POLYCAB | WIRES | 3 | 32 | Lead-free FR-LF green industrial wires, 1100V, flexible, eco-friendly, energy-efficient performance.
153 | ETRIRA FLAME RETARDANT | POLYCAB | WIRES | 5 | 71 | ETIRA FR house wires, 1100V, high flexibility, flame retardant PVC insulation, reliable quality.
154 | Optima Plus Wires | POLYCAB | WIRES | 5 | 33 | Optima+ FR-LF house wires: lead-free, high-purity copper, flexible, low smoke, energy saving.
155 | FIBERGLASS CABLE TRAY SYSTEM | SUMIP | SUMIP | 4 | 57 | FRP/GRP cable tray systems with accessories; corrosion resistant, lightweight, high load capacity.
156 | Fiberglass Ladders | SUMIP | SUMIP | 5 | 29 | SUMIP FRP ladders: electrically insulating, corrosion resistant, lightweight, robust for industrial use.